## Slide 1
Green Building Programs
SILVER LAKES, MADISON, GA - LEED FOR HOMES
www.imerygroup.com

## Slide 2: Agenda
Objective
Performance Labels?
What are Green Homes
Green Building Programs
Pillars of Green Building
Energy Efficiency
Indoor Environment
Resource Efficiency
Third Party Verification
Customers Benefits
Questions

## Slide 3
HERS Index – Home performance Label
Get a general idea of what are the most popular green building programs in our area
  Programs Goals
  Familiarize with Logos
  Programs Core Values
MADISON NEWEST LEED FOR HOME PROJECT
SILVER LAKES
Objective

## Slide 4: What do you do think when considering buying a car?
Style
Size
Color
MPG’s!!!

## Slide 5: MPG = Energy Label on Automobile Industry

## Slide 6: How about when buying an appliance?
Style
Size
Color
Efficiency!!!

## Slide 7: ENERGYGUIDE for appliances

## Slide 8: How about an ENERGY LABEL for homes?

## Slide 9: HERS Index
The industry standard by which a home’s energy efficiency is measured.
Developed by RESNET and is the nationally recognized system for inspecting and calculating a home’s energy performance.
In short, a HERS index is the measuring stick for which all new homes & existing homes can be rated
BETTTER

## Slide 10: Green Homes ?
HEALTHY , DURABLE, EFFICENT AND COMFORTABLE
  Third Party Verified
  At least two inspection done through construction process, including air leakage tests
  Outperforms a code build home in terms of performance, at least 15% more efficient

## Slide 11: Most Popular Green Building Programs
ENERGY STAR ® :Government backed program developed by EPA, DOE and Private Business
EarthCraft House: Is a partnership between the Greater Atlanta Home Builders Association, Southface Energy Institute, the government and industry partners
LEED for Homes: Developed by the U.S Green Building Council ( USGBC )
Developed by National Association of Home Builders ( NAHB ) and the International Code Council (ICC) . Program also known as ICC 700 National Green Building Standard™ which receive approval from the American National Standards Institute (ANSI).

## Slide 12: Pillar of Green Building
Energy
Efficiency
Envelope
Distribution
Equipment
Lighting
Appliances
Resource
Efficiency
Site Planning
Water
Materials
Waste Mgt.
Renewables
Step 1
Step 2
Step 3
Up to 30-50% of green building point systems are related to energy efficiency
Indoor
Environment
Bulk Moisture
Radon
Pest Control
HVAC
Combust. Safety
Materials
Commissioning
Step 2

## Slide 13: Why Energy Efficiency
Chart: 
| Space Cooling | Space Heating | Water Heating | Appliances & Lights | Refrigerator
% | 0.29 | 0.2 | 0.23 | 0.18 | 0.1
70% of energy use goes to heat and cool our home’s air & water.
Just focusing in reducing our energy consumption alone will substantially reduce our impact on the planet.

## Slide 14
Effective Insulation
High Performance
Windows
Efficient Equipment
Tight Construction and Ducts
Lighting and Appliances
Achieving Energy Efficiency

## Slide 15
Moisture Control
Radon
HVAC System – Fresh Air
Pest Control
Indoor Environment
Combustion Safety
Materials

## Slide 16
Site Planning
Waste Management
Materials
Indoor Water Use
Resource Efficiency
Outdoor Water Use
Renewable

## Slide 17: Third Party Verification
Energy Model / Hers Index < 85
Pre-drywall Inspection
Final Inspection
Building Envelope leakage test
Duct leakage test

## Slide 18: LEED FOR HOMES

## Slide 19: SILVER LAKES

## Slide 20: TEAM ROLES

## Slide 21: CERTIFICATION TIMELINE

## Slide 22: CREDIT CATEGORIES

## Slide 23: INNOVATION AND DESIGN

## Slide 24: LOCATION & LINKAGE

## Slide 25
SUSTAINABLE SITES

## Slide 26: WATER EFFICIENCY

## Slide 27
ENERGY & ATMOSPHERE

## Slide 28: MATERIALS AND RESOURCES

## Slide 29: INDOOR ENVIRONMENTAL QUALITY

## Slide 30: AWARENESS AND EDUCATION

## Slide 31: LEED CHECKLIST

## Slide 32
www.imerygroup.com
Luis Imery –Owner Cell: 770-2941014
THANKS YOU !!!